## Budget
WILKINS SCHOOL ADDITION - OPTION #3
Trade | Sub Trade | sf/lf/cy | $ | Total | $/SF
Sitework Allowance | Mass excavation | 1 | 350000 | 350000
| Gravel Materials | 1 | 75000 | 75000
| Paving | 1 | 75000 | 75000
| Septic/Misc & Materials | 1 | 75000 | 75000
| Cut into northern slope of Upper Wilkins for road access & rebuild stair | 1 | 50000 | 50000
| Run hydrant loop to rear of property | 1 | 100000 | 100000
| Loop Road per SAU Request | 1 | 1200000 | 1200000
Landscaping | Labor/Materials | 1 | 75000 | 75000
|  |  | Site Subtotal: | 2000000 | 59.5238
Concrete | Footings/foundation wall - 2' footing | 740 | 35 | 25900
| Footings/Foundation wall - 3' footing & 10' wall | 480 | 100 | 48000
| Slab on grade | 33600 | 1.75 | 58800
| Reinforcing steel | 1 | 100000 | 100000
| Concrete Materials |  |  | 0
| Slab on grade | 518.5185 | 200 | 103703.7037
| Footings 2' | 54.8148 | 200 | 10962.963
| Footings 3' | 53.3333 | 200 | 10666.6667
| Foundation walls 4' | 91.358 | 200 | 18271.6049
| Foundation walls 10' | 207.4074 | 200 | 41481.4815
| Pump Allowance | 1 | 15000 | 15000
| Seppala Additional $ | 1 | 97000 | 84000
| Vapor Barrier and Install | 33600 | 1 | 33600
|  |  | Concrete Subtotal: | 550386.4198 | 16.3805
| Rigid Insulation Under Slab | 33600 | 3 | 100800
| Rigid Insulation Installation Under Slab | 33600 | 1 | 33600
| Damproofing | 1 | 15000 | 15000
| Vapor Barrier along exterior foundation wall and drainage piping | 1 | 20000 | 20000
| Rigid Insulation Installation Along Exterior foundation walls | 2960 | 4 | 11840
| Rigid Insulation Along Exterior foundation walls | 2960 | 4 | 11840
|  |  | Rigid Insulation: | 193080 | 5.7464
Masonry | None |  |  | 0
0
Steel | Angles, Extra Lag screws, Simpson Truss clips etc | 1 | 20000 | 20000
0
Rough Carpentry | Roof Trusses | 1 | 165000 | 165000
| Wall Studs | 1 | 65000 | 65000
| Window/Door Headers | 1 | 20000 | 20000
| Advantech | 800 | 60 | 48000
| Exterior 5/8 Sheathing | 571.875 | 22 | 12581.25
| Misc. Hold down anchors etc | 1 | 3500 | 3500
| Framing Labor | 33600 | 20 | 672000
| Crane Rental | 1 | 15000 | 15000
| Scissor Lift Rental thru Project | 1 | 35000 | 35000
| Seppala Additional $ | 1 | 150000 | 144000
| Upgrade to Steel from Wood | 1 | 600000 | 600000
| Allowance for revised framing moving gym per SAU Request | 1 | 800000 | 800000
|  |  | Framing/Steel: | 2600081.25 | 77.3834
Roofing/siding |  |  |  | 0
| EPDM | 22400 | 9 | 201600
| Shingles with Full Ice and Water | 14000 | 5 | 70000
| Siding Metal or Vinyl Labor | 15300 | 5 | 76500
| Siding Metal or Vinyl Materials | 15300 | 5 | 76500
| PVC or metal | 1 | 40000 | 40000
| Tyvek vs Roofing Felt | 15300 | 0.25 | 3825
| Insulation under EPDM | 22400 | 4 | 89600
| Cellulose Insulation Exteriors | 15300 | 5 | 76500
| Cellulose Insulation Ceilings | 33600 | 5 | 168000
| Exterior Wall Rigid Insulation | 15300 | 4 | 61200
| Spray Foam Insulation Misc | 1 | 150000 | 150000
| Seppala Additional $ | 1 | 187000 | 187000
|  |  | Roofing/Siding/Insulation: | 1200725 | 35.7359
Windows/Doors & Hardware
| Windows (install with framer) | 120 | 1000 | 120000
| Entrance Doors | 10 | 5000 | 50000
| Classroom Doors | 40 | 2000 | 80000
| Door Install | 40 | 500 | 20000
|  |  | Window/Doors: | 270000 | 8.0357
Drywall |  |  |  | 0
| Drywall Furnish & Install | 100800 | 3 | 302400
| Painting | 33600 | 5 | 168000
| Preparation & Supply of Wood trim | 1 | 115000 | 115000
| Seppala Additional $ | 1 | 115000 | 115000
|  |  | Sheetrock, Painting/Trim: | 700400 | 20.8452
0
Specialties |  |  |  | 0
| Toilet Partitions | 10 | 5000 | 50000
| Classroom Accessories | 15 | 2000 | 30000
| Miscellaneous | 1 | 20000 | 20000
| Basketball Hoops w/Install | 1 | 50000 | 50000
| Gym Floor Coating | 11900 | 10 | 119000
| Floor Polishing | 21700 | 7 | 151900
| Modular Turf | 1 | 25000 | 25000
| Telescopic Hussey Bleachers | 1 | 45000 | 45000
| 2 Scoreboards | 2 | 7500 | 15000
|  |  | Specialties: | 505900 | 15.0565
0
Appliances | Stars Room | 1 | 5000 | 5000 | 0.14881
0
Finish Carpentry |  |  |  | 0
| Trim Install Allowance | 1 | 77000 | 77000
| Window Sills | 120 | 500 | 60000
| Miscellaneous | 1 | 25000 | 25000
| Cubby/coat hooks, etc in Classrooms (FF&E) with Wood | 1 | 50000 | 50000
|  |  | Finish Carpentry: | 212000 | 6.3095
Fire Protection | Assume Street Pressure is satisfactory - dry systems in attics | 33600 | 7 | 235200
| Provide fire/booster pump if needed | 1 | 100000 | 100000
|  |  | Fire Protection: | 335200 | 9.9762
0
Elevators | None |  |  | 0
0
Plumbing | Bathrooms (Men's and Women's Only | 15 | 1000 | 15000
| Underground Coordination | 1 | 15000 | 15000
| Finish Plumbing Fixtures | 15 | 1000 | 15000
| Tie-In to Existing Building Allowance | 1 | 5000 | 5000
| Water Coolers & Misc. | 1 | 20000 | 20000
| Sinks in each New Classroom | 1 | 200000 | 200000
|  |  | Plumbing: | 270000 | 8.0357
HVAC | Boiler Purchase | 1 | 20000 | 20000
| Boiler Accessories & Piping/Manifolds | 1 | 40000 | 40000
| Radiant Piping (wirsbro vs vevor) | 38 | 767 | 29146
| Radiant Piping Install | 33600 | 1.25 | 42000
| Misc Add'l Materials/Labor | 1 | 90000 | 90000
| Boiler Install | 1 | 50000 | 50000
| Heat Pumps Material (mitsubishi vs Pioneer) | 30 | 4500 | 135000
| Heat Pump Install | 20 | 2500 | 50000
| Heat Recovery Ventilators | 2 | 25000 | 50000
| Ductwork Allowance & Install | 1 | 100000 | 100000
| Seppala Additional $ | 1 | 60000 | 60000
|  |  | HVAC: | 666146 | 19.8258
0
Electric | Labor | 33600 | 10 | 336000
| Materials | 33600 | 10 | 336000
| Fire Alarm | 33600 | 3.6 | 120960
| Audio/Visual & Security | 75000 | 1 | 75000
| Service Upgrades | 1 | 25000 | 25000
| 800 amp 3 Phase Switchgear | 1 | 75000 | 75000
|  |  | Electric: | 967960 | 28.8083
| SUBCONTRACTOR HARD COST TOTAL - THIS IS $ TO BE USED FOR ARCHITECTURAL FEE CALCULATION: |  |  | 10476878.6698
General Conditions
| Insurance | 1 | 100000 | 100000
| Winter Conditions | 1 | 100000 | 100000
| Dumpsters | 1 | 100000 | 100000
| Temporary Power | 1 | 20000 | 20000
| Supervision, Cleaning , General Requirements etc | 1 | 650000 | 650000
| Miscellaneous Materials | 1 | 100000 | 100000
| Trailer Rental | 1 | 30000 | 30000
| Performance Bond | 1 | 100000 | 100000
| Profit Baseline Trades: | 1 | 523843.9335 | 523843.9335
| Profit Alternates |  |  | 0
|  |  | GCs & Fee: | 1723843.9335 | 51.3049
Contingency | 5% of Hard Costs | 1 | 523843.9335 | 523843.9335 | 15.5906
Architect | Design with Peer Review | 1 | 1047687.867 | 1047687.867 | 31.1812
0
|  |  |  | 13772254.4037 | 409.8885
|  |  | Total sf: | 33600
|  |  | $/sf: | 409.8885

## Alternates-Allowances
Alternates | Upgrade to Steel from Wood | 1 | 700000 | 700000
| Winter Conditions | 1 | 100000 | 100000
| Cubby/coat hooks, etc in Classrooms (FF&E) with Wood | 1 | 50000 | 50000
| Septic/Misc & Materials | 1 | 75000 | 75000
| Cut into northern slope of Upper Wilkins for road access & rebuild stair | 1 | 50000 | 50000
| Run hydrant loop to rear of property | 1 | 100000 | 100000
| Provide fire/booster pump if needed | 1 | 100000 | 100000
| 800 amp 3 Phase Switchgear | 1 | 75000 | 75000
| Performance Bond | 1 | 100000 | 100000
|  |  | Allowances: | 1350000