## Sheet1
WILKINS DEVELOPMENT BUDGET
HARD COSTS:
| DESIGN/BUILD GMP | 13772254.4
| OWNER'S CONTINGENCY - 10% | 1377225.44
| MOVE ONE 4TH GRADE PORTABLE FOR CONSTRUCTION PURPOSES | 20520
| AUDIO/VISUAL | 50000
| SITE SECURITY & CONSULTING FOR PROJECT | 100000
| Total: | 15319999.84
WILKINS UPDATES TO MEET CODE & REFRESH BUILDING
Exterior
| Repair/remove rotted trim board and cover with metal around building | 75000 | SUMMER 2026
| Exterior shed on the backside of MPR, siding repairs (snow blower, gas, ladders, etc. stored inside) | 10000 | SUMMER 2026
| Exterior caulking (expansion joints, windows, etc.) - Under Aaron's Management!!! | 75000 | SUMMER 2026
| Windows fair condition but replacement of weights and springs 30% | 30000 | SUMMER 2026
| Additional paving repairs | 30000 | SUMMER 2026
Mech/Electrical
| Remove the Federal Pacific panels. We need to look at the service as well and confirm if FP but I don't believe the service gear had the same issue as their panels ASSUME 2 PANELS AT $10K EACH | 20000 | SUMMER 2026
| Mechanical improvements Misc. | 20000 | SUMMER 2026
Plumbing
| ADA compliant bathrooms and access | 150000 | SUMMER 2027
| Replace kitchen and boiler room water heater | 5000 | SUMMER 2026
| Kitchen dishwasher system (Krystal may be replacing this already this summer) | 5000 | SUMMER 2026
Fire Protection
| Glycol in the sprinkler system. I am working on this to add an NFPA rated solution. Here's what I see below, $4200 for 55 gallon drum: | 55000 | SUMMER 2026
https://elaraeng.com/nfpa-driven-sprinkler-system-antifreeze-replacement-required-september-30-2022/
Misc.
| Asbestos abatement as shown to be existing under new VCT throughout the building. As mentioned we are meeting the AHERA requirements with recurring inspections. Off the cuff # from reputable contractor I've used based on emailed plans | 250000 | SUMMER 2027
Finishes
| Replace all floor tiles with new VCT after abatement is complete 55,000 * $6 (or concrete polish) | 330000 | SUMMER 2027
| Replace all ACT ceiling tiles 55,000 * $6 | 330000 | SUMMER 2027
| Re-build new front office area adjacent to entrance doors, including principal, asst principal & admin. | 100000 | SUMMER 2027
| Allowance to partition off former classrooms into interventionist rooms, case rooms etc per Principal's direction Summer 2027 after addition is complete | 150000 | SUMMER 2027
| Replace light fixtures in classroom ceilings | 100000 | SUMMER 2027
| Cubbies & Coat Hangers to organize kid's belongings & Misc Finish Carpentry Work to Enhance Spaces | 75000 | SUMMER 2027
| Repaint Corridors & New Partitioned Areas | 50000 | SUMMER 2027
| Move Classroom materials to new Addition | 76364 | SUMMER 2027
| Subtotal: | 1936364
| Contingency - 10% | 193636.4
| Total: | 2130000.4
SOFT COSTS:
| OWNER'S REP | 300000
| CIVIL/SITE ENGINEER | 75000
| 3RD PARTY CONSULTANTS - SOIL, CONCRETE, STEEL, FAÇADE ETC | 100000
| LEGAL | 150000
| BUILDER'S RISK INSURANCE | 400000
| SOFT COST CONTINGENCY | 250000
| FF&E | 575000
| Soft Costs Total: | 1850000
TOTAL COSTS PHASE #1 with Wilkins Code & Refresh Work: |  | 19300000.24